## Quarter_3_Replicate_data
Colors | Meets 20% RPD or agrees within precision of measurement |  |  |  |  | Exceeds 20% RPD or falls outside precision of measurement
Site_Code | Surface_Temp_C | Surface_Sal_psu | Surface_DO_mg_L | Surface_pH | Bottom_Temp_C | Bottom_Sal_psu | Bottom_DO_mg_L | Bottom_pH | Secchi_Avg_Depth | TSS (mg/L) | Enterococcus (MPN) | SS (ml/L) | Surface BOD (mg/L) | Bottom BOD (mg/L) | Chl-a (Âµg/L) | Turbidity (NTU) | Surface DIC (Âµmol/kg) | Bottom DIC (Âµmol/kg) | Surface TA (Âµmol/kg) | Bottom TA (Âµmol/kg) | NOx LOD (mg/L) | PO4 LOD (mg/L) | TKN LOD (mg/L)
DOMI05 | 27.21 | 37.2 | 6.54 | 8.17 | 27.19 | 37.18 | 6.57 | 8.17 | > 2 | 7.8 | NA | < 0.1 | 0.95 | 0.35 | 0 | 0.05 | 2033 | 2031 | 2347 | 2347 | 0.006 | <0.006 | 0.109
DOMI05-R | 27.24 | 37.06 | 6.57 | 8.18 | 27.21 | 37.1 | 6.63 | 8.18 | > 2 | 4.5 | NA | < 0.1 | 0.27 | 0.49 | 0.39 | 0.1 | 2025 | 2031 | 2326 | 2337 | 0.006 | <0.006 | <0.09
ESPE10 | 27.06 | 36.61 | 6.45 | 8.23 | 27.08 | 36.78 | 5.91 | 8.2 | > 9.5 | 0.4 | < 10 | < 0.1 | 0.01 | 0.05 | 0.19 | 0 | 2010 | 2021 | 2338 | 2350 | 0.006 | <0.006 | <0.09
ESPE10-R | 27.08 | 36.66 | 6.4 | 8.23 | 27.07 | 36.78 | 6.08 | 8.21 | > 9.5 | 4.7 | < 10 | < 0.1 | 0.14 | 0.14 | 0.38 | 0.05 | 2009 | 2014 | 2273 | 2275 | <0.003 | <0.006 | <0.09
GALL05 | 27.04 | 36.62 | 6.26 | 8.18 | 27.04 | 36.63 | 6.13 | 8.18 | > 3 | 7.4 | <10 | < 0.1 | 0.25 | 1.72 | 0.4 | 0 | 2004 | 2004 | 2320 | 2317 | 0.034 | <0.006 | 0.16
GALL05-R | 27.04 | 36.54 | 6.57 | 8.2 | 27.05 | 36.56 | 6.19 | 8.2 | > 6 | 7.5 | <10 | < 0.1 | 0.52 | 0.64 | 0.17 | 0 | 2004 | 2005 | 2335 | 2329 | 0.011 | <0.006 | 0.304
GUAN20 | 27.07 | 36.72 | 6.33 | 8.21 | 26.96 | 36.85 | 6.11 | 8.21 | > 17.5 | 3.1 | <10 | < 0.1 | 0.55 | 0.76 | 0.56 | 0 | 2011 | 2015 | 2333 | 2339 | 0.006 | <0.006 | <0.09
GUAN20-R | 27.09 | 36.58 | 6.45 | 8.22 | 27 | 36.82 | 6.21 | 8.21 | > 17.5 | 3.7 | <10 | < 0.1 | 0.63 | 0.87 | 0.4 | 0 | 2008 | 2002 | 2338 | 2332 | 0.004 | <0.006 | <0.09
MLAN10 | 27.31 | 36.24 | 6.46 | 8.21 | 27.32 | 36.16 | 6.19 | 8.2 | 5.5 | 7 | < 10 | < 0.1 | 0.19 | 0.26 | 0.96 | 0.2 | 2010 | 2010 | 2330 | 2328 | <0.003 | <0.006 | <0.09
MLAN10-R | 27.32 | 36.18 | 6.48 | 8.22 | 27.33 | 36.26 | 6.26 | 8.21 | 5.25 | 2.9 | < 10 | < 0.1 | 0.32 | 0.17 | 0.8 | 0.25 | 2006 | 2005 | 2328 | 2319 | 0.005 | <0.006 | <0.09
RPD | Surface_Temp_C | Surface_Sal_psu | Surface_DO_mg_L | Surface_pH | Bottom_Temp_C | Bottom_Sal_psu | Bottom_DO_mg_L | Bottom_pH | Secchi_Avg_Depth | TSS (mg/L) | Enterococcus (MPN) | SS (ml/L) | Surface BOD (mg/L) | Bottom BOD (mg/L) | Chl-a (Âµg/L) | Turbidity (NTU) | Surface DIC (Âµmol/kg) | Bottom DIC (Âµmol/kg) | Surface TA (Âµmol/kg) | Bottom TA (Âµmol/kg) | NOx (mg/L) | PO4 (mg/L) | TKN (mg/L)
DOMI05 | 0.11019 | 0.37705 | 0.45767 | 0.12232 | 0.073529 | 0.2154 | 0.90909 | 0.12232 | 0 | 53.6585 | NA | 0 | 111.4754 | 33.3333 | 200 | 66.6667 | 0.39428 | 0 | 0.89878 | 0.42699 | 0 | 0 | 0
DOMI05-R | 0.11019 | 0.37705 | 0.45767 | 0.12232 | 0.073529 | 0.2154 | 0.90909 | 0.12232 | 0 | 53.6585 | NA | 0 | 111.4754 | 33.3333 | 200 | 66.6667 | 0.39428 | 0 | 0.89878 | 0.42699 | 0 | 0 | 0
ESPE10 | 0.073883 | 0.13648 | 0.77821 | 0 | 0.036934 | 0 | 2.8357 | 0.12188 | 0 | 168.6275 | 0 | 0 | 173.3333 | 94.7368 | 66.6667 | 200 | 0.049764 | 0.34696 | 2.8193 | 3.2432 | #VALUE! | 0 | 0
ESPE10-R | 0.073883 | 0.13648 | 0.77821 | 0 | 0.036934 | 0 | 2.8357 | 0.12188 | 0 | 168.6275 | 0 | 0 | 173.3333 | 94.7368 | 66.6667 | 200 | 0.049764 | 0.34696 | 2.8193 | 3.2432 | #VALUE! | 0 | 0
GALL05 | 0 | 0.2187 | 4.8324 | 0.2442 | 0.036975 | 0.19128 | 0.97403 | 0.2442 | 0 | 1.3423 | 0 | 0 | 70.1299 | 91.5254 | 80.7018 | #DIV/0! | 0 | 0.049888 | 0.64447 | 0.51657 | 102.2222 | 0 | 62.069
GALL05-R | 0 | 0.2187 | 4.8324 | 0.2442 | 0.036975 | 0.19128 | 0.97403 | 0.2442 | 0 | 1.3423 | 0 | 0 | 70.1299 | 91.5254 | 80.7018 | #DIV/0! | 0 | 0.049888 | 0.64447 | 0.51657 | 102.2222 | 0 | 62.069
GUAN20 | 0.073855 | 0.38199 | 1.8779 | 0.12173 | 0.14826 | 0.081444 | 1.6234 | 0 | 0 | 17.6471 | 0 | 0 | 13.5593 | 13.4969 | 33.3333 | #DIV/0! | 0.14929 | 0.64725 | 0.21409 | 0.29972 | 40 | 0 | 0
GUAN20-R | 0.073855 | 0.38199 | 1.8779 | 0.12173 | 0.14826 | 0.081444 | 1.6234 | 0 | 0 | 17.6471 | 0 | 0 | 13.5593 | 13.4969 | 33.3333 | #DIV/0! | 0.14929 | 0.64725 | 0.21409 | 0.29972 | 40 | 0 | 0
MLAN10 | 0.03661 | 0.1657 | 0.30912 | 0.12173 | 0.036597 | 0.27617 | 1.1245 | 0.12188 | 4.6512 | 82.8283 | 0 | 0 | 50.9804 | 41.8605 | 18.1818 | 22.2222 | 0.1992 | 0.24907 | 0.085874 | 0.38735 | #VALUE! | 0 | 0
MLAN10-R | 0.03661 | 0.1657 | 0.30912 | 0.12173 | 0.036597 | 0.27617 | 1.1245 | 0.12188 | 4.6512 | 82.8283 | 0 | 0 | 50.9804 | 41.8605 | 18.1818 | 22.2222 | 0.1992 | 0.24907 | 0.085874 | 0.38735 | #VALUE! | 0 | 0