## Sheet1
ANAL | NOx_PO4.ANL | Column1
RUN | 240716_Q5_NP1_DriftCorrected.RUN
DATE | 2024-07-17
TIME | 13:15 | [6 empty] | NOx | PO4
OPER | CLMR | [5 empty] | LOD | 0.0023225 | 0.0024701
COMM | Recalculate from Run240716_Q5_NP1.run
CHAN | 1 | 3 | 2
METH | NOx | PO4 | Dilution
UNIT | mg/L | mg/L | mg/L
Base | 246 | 4931
Gain | 54 | 97
FIT | L | L
COEFF | 0.9991 | 1
Sample ID | Peak Number | Cup Number | Cup Type | Cup Group |  |  | Date Time Stamp | Results 1 | Absorbance | Results 3 | Absorbance | Results 2 | NOx_mg/L | PO4_mg/L | NOx_LOD | PO4_LOD
Primer | 1 | 921 | PRIM | 0 | 0 | 0 | 2024-07-17 13:16 | 0.243 | 130.84 | 0.2 | 85.84 | 1 | 0.243 | 0.2 | 0.243 | 0.2
Drift | 2 | 921 | DRIF | 0 | 0 | 0 | 2024-07-17 13:17 | 0.208 | 112.77 | 0.2 | 85.93 | 1 | 0.208 | 0.2 | 0.208 | 0.2
0.2 | 3 | 921 | CALB | 0 | 0 | 0 | 2024-07-17 13:18 | 0.199 | 108.35 | 0.2 | 85.75 | 1 | 0.199 | 0.2 | 0.199 | 0.2
0.1 | 4 | 901 | CALB | 0 | 0 | 0 | 2024-07-17 13:19 | 0.1 | 57.36 | 0.1 | 45.36 | 1 | 0.1 | 0.1 | 0.1 | 0.1
0.05 | 5 | 902 | CALB | 0 | 0 | 0 | 2024-07-17 13:21 | 0.053 | 33.54 | 0.05 | 25.04 | 1 | 0.053 | 0.05 | 0.053 | 0.05
0.025 | 6 | 903 | CALB | 0 | 0 | 0 | 2024-07-17 13:22 | 0.029 | 21.14 | 0.025 | 14.86 | 1 | 0.029 | 0.025 | 0.029 | 0.025
0.01 | 7 | 904 | CALB | 0 | 0 | 0 | 2024-07-17 13:23 | 0.009 | 10.88 | 0.01 | 8.6 | 1 | 0.009 | 0.01 | 0.009 | 0.01
Null-Cal. | 8 | 0 | NULLCALB | 0 | 0 | 0 | 2024-07-17 13:24 | 0.006 | 9.41 | 0.01 | 8.51 | 1 | 0.006 | 0.01 | 0.006 | 0.01
Blank | 9 | 906 | CALB | 0 | 0 | 0 | 2024-07-17 13:25 | -0.005 | 3.68 | -0.001 | 4.18 | 1 | -0.005 | -0.001 | <0.002 | <0.002
Baseline | 10 | 0 | BASL | 0 | 0 | 0 | 2024-07-17 13:26 | -0.012 | 0 | -0.011 | 0 | 1 | -0.012 | -0.011 | <0.002 | <0.002
High | 11 | 921 | HIGH | 0 | 1 | 1 | 2024-07-17 13:30 | 0.231 | 124.92 | 0.2 | 86 | 1 | 0.231 | 0.2 | 0.231 | 0.2
Low | 12 | 905 | LOW | 0 | 1 | 2 | 2024-07-17 13:31 | 0.003 | 7.73 | 0.01 | 8.49 | 1 | 0.003 | 0.01 | 0.003 | 0.01
Low | 13 | 905 | LOW | 0 | 1 | 3 | 2024-07-17 13:32 | 0.005 | 8.92 | 0.01 | 8.49 | 1 | 0.005 | 0.01 | 0.005 | 0.01
Blank | 14 | 906 | SAMP | 0 | 0 | 0 | 2024-07-17 13:33 | 0 | 6.31 | -0.001 | 4.2 | 1 | 0 | -0.001 | <0.002 | <0.002
Blank spiked | 15 | 907 | SPIK | 0 | 0 | 1 | 2024-07-17 13:35 | 0.166 | 91.35 | 0.146 | 63.92 | 1 | 0.166 | 0.146 | 0.166 | 0.146
CRM [0.15/0.03] | 16 | 908 | QUAL | 0 | 0 | 0 | 2024-07-17 13:36 | 0.159 | 87.63 | 0.027 | 15.59 | 1 | 0.159 | 0.027 | 0.159 | 0.027
CRM 4/30 | 17 | 909 | QUAL | 0 | 0 | 0 | 2024-07-17 13:37 | 0.171 | 94.24 | 0.027 | 15.46 | 1 | 0.171 | 0.027 | 0.171 | 0.027
152 | 18 | 1 | SAMP | 0 | 0 | 0 | 2024-07-17 13:38 | 0.021 | 16.92 | -0.002 | 3.51 | 1 | 0.021 | -0.002 | 0.021 | <0.002
347 | 19 | 2 | SAMP | 0 | 0 | 0 | 2024-07-17 13:39 | 0.03 | 21.71 | 0.02 | 12.75 | 1 | 0.03 | 0.02 | 0.03 | 0.02
100 | 20 | 3 | SAMP | 0 | 0 | 0 | 2024-07-17 13:40 | 0.021 | 17.25 | 0 | 4.63 | 1 | 0.021 | 0 | 0.021 | <0.002
204 | 21 | 4 | SAMP | 0 | 0 | 0 | 2024-07-17 13:42 | 0.021 | 16.79 | 0 | 4.54 | 1 | 0.021 | 0 | 0.021 | <0.002
87 | 22 | 5 | SAMP | 0 | 0 | 0 | 2024-07-17 13:43 | 0.021 | 16.99 | -0.001 | 4.07 | 1 | 0.021 | -0.001 | 0.021 | <0.002
61 | 23 | 6 | SAMP | 0 | 0 | 0 | 2024-07-17 13:44 | 0.012 | 12.18 | 0.009 | 8.18 | 1 | 0.012 | 0.009 | 0.012 | 0.009
269 | 24 | 7 | SAMP | 0 | 0 | 0 | 2024-07-17 13:45 | 0.018 | 15.28 | 0.001 | 4.91 | 1 | 0.018 | 0.001 | 0.018 | <0.002
9 | 25 | 8 | SAMP | 0 | 0 | 0 | 2024-07-17 13:46 | 0.015 | 13.97 | -0.003 | 3.24 | 1 | 0.015 | -0.003 | 0.015 | <0.002
243 | 26 | 9 | SAMP | 0 | 0 | 0 | 2024-07-17 13:47 | 0.013 | 13.04 | 0.004 | 6.18 | 1 | 0.013 | 0.004 | 0.013 | 0.004
165 | 27 | 10 | SAMP | 0 | 0 | 0 | 2024-07-17 13:49 | 0.022 | 17.68 | -0.004 | 2.99 | 1 | 0.022 | -0.004 | 0.022 | <0.002
165 spiked | 28 | 11 | SPIK | 0 | 0 | 1 | 2024-07-17 13:50 | 0.186 | 101.82 | 0.142 | 62.31 | 1 | 0.186 | 0.142 | 0.186 | 0.142
CRM [0.15/0.03] | 29 | 908 | QUAL | 0 | 0 | 0 | 2024-07-17 13:51 | 0.155 | 85.54 | 0.027 | 15.39 | 1 | 0.155 | 0.027 | 0.155 | 0.027
CRM 4/30 | 30 | 909 | QUAL | 0 | 0 | 0 | 2024-07-17 13:52 | 0.166 | 91.31 | 0.027 | 15.71 | 1 | 0.166 | 0.027 | 0.166 | 0.027
Baseline | 31 | 0 | BASL | 0 | 0 | 0 | 2024-07-17 13:53 | -0.012 | 0 | -0.011 | 0 | 1 | -0.012 | -0.011 | <0.002 | <0.002
139 | 32 | 12 | SAMP | 0 | 0 | 0 | 2024-07-17 13:57 | 0.025 | 19.12 | -0.003 | 3.29 | 1 | 0.025 | -0.003 | 0.025 | <0.002
35 | 33 | 13 | SAMP | 0 | 0 | 0 | 2024-07-17 13:58 | 0.014 | 13.49 | 0.003 | 5.81 | 1 | 0.014 | 0.003 | 0.014 | 0.003
22 | 34 | 14 | SAMP | 0 | 0 | 0 | 2024-07-17 13:59 | 0.006 | 9.44 | -0.004 | 2.8 | 1 | 0.006 | -0.004 | 0.006 | <0.002
230 | 35 | 15 | SAMP | 0 | 0 | 0 | 2024-07-17 14:00 | 0.011 | 11.61 | -0.004 | 2.95 | 1 | 0.011 | -0.004 | 0.011 | <0.002
48 | 36 | 16 | SAMP | 0 | 0 | 0 | 2024-07-17 14:01 | 0.025 | 18.84 | -0.004 | 2.75 | 1 | 0.025 | -0.004 | 0.025 | <0.002
308 | 37 | 17 | SAMP | 0 | 0 | 0 | 2024-07-17 14:03 | 0.016 | 14.18 | -0.004 | 3 | 1 | 0.016 | -0.004 | 0.016 | <0.002
191 | 38 | 18 | SAMP | 0 | 0 | 0 | 2024-07-17 14:04 | 0.011 | 11.87 | -0.004 | 2.7 | 1 | 0.011 | -0.004 | 0.011 | <0.002
295 | 39 | 19 | SAMP | 0 | 0 | 0 | 2024-07-17 14:05 | 0.011 | 12.11 | -0.003 | 3.19 | 1 | 0.011 | -0.003 | 0.011 | <0.002
282 | 40 | 20 | SAMP | 0 | 0 | 0 | 2024-07-17 14:06 | 0.012 | 12.17 | -0.003 | 3.31 | 1 | 0.012 | -0.003 | 0.012 | <0.002
178 | 41 | 21 | SAMP | 0 | 0 | 0 | 2024-07-17 14:07 | 0.01 | 11.12 | -0.004 | 2.88 | 1 | 0.01 | -0.004 | 0.01 | <0.002
178 spiked | 42 | 22 | SPIK | 0 | 0 | 1 | 2024-07-17 14:08 | 0.152 | 84.27 | 0.141 | 62.03 | 1 | 0.152 | 0.141 | 0.152 | 0.141
CRM [0.15/0.03] | 43 | 908 | QUAL | 0 | 0 | 0 | 2024-07-17 14:10 | 0.153 | 84.53 | 0.027 | 15.41 | 1 | 0.153 | 0.027 | 0.153 | 0.027
CRM 4/30 | 44 | 909 | QUAL | 0 | 0 | 0 | 2024-07-17 14:11 | 0.141 | 78.4 | 0.027 | 15.44 | 1 | 0.141 | 0.027 | 0.141 | 0.027
Baseline | 45 | 0 | BASL | 0 | 0 | 0 | 2024-07-17 14:12 | -0.012 | 0 | -0.011 | 0 | 1 | -0.012 | -0.011 | <0.002 | <0.002
74 | 46 | 23 | SAMP | 0 | 0 | 0 | 2024-07-17 14:15 | 0.009 | 10.66 | 0.002 | 5.22 | 1 | 0.009 | 0.002 | 0.009 | 0.002
113 | 47 | 24 | SAMP | 0 | 0 | 0 | 2024-07-17 14:17 | 0.013 | 12.65 | -0.004 | 2.77 | 1 | 0.013 | -0.004 | 0.013 | <0.002
126 | 48 | 25 | SAMP | 0 | 0 | 0 | 2024-07-17 14:18 | 0.015 | 13.94 | -0.005 | 2.51 | 1 | 0.015 | -0.005 | 0.015 | <0.002
321 | 49 | 26 | SAMP | 0 | 0 | 0 | 2024-07-17 14:19 | 0.016 | 14.63 | -0.004 | 2.72 | 1 | 0.016 | -0.004 | 0.016 | <0.002
217 | 50 | 27 | SAMP | 0 | 0 | 0 | 2024-07-17 14:20 | 0.026 | 19.54 | -0.005 | 2.61 | 1 | 0.026 | -0.005 | 0.026 | <0.002
256 | 51 | 28 | SAMP | 0 | 0 | 0 | 2024-07-17 14:21 | 0.02 | 16.48 | -0.005 | 2.44 | 1 | 0.02 | -0.005 | 0.02 | <0.002
256 spiked | 52 | 29 | SPIK | 0 | 0 | 1 | 2024-07-17 14:22 | 0.148 | 82.28 | 0.138 | 60.86 | 1 | 0.148 | 0.138 | 0.148 | 0.138
CRM [0.15/0.03] | 53 | 908 | QUAL | 0 | 0 | 0 | 2024-07-17 14:24 | 0.167 | 92.09 | 0.026 | 15.22 | 1 | 0.167 | 0.026 | 0.167 | 0.026
CRM 4/30 | 54 | 909 | QUAL | 0 | 0 | 0 | 2024-07-17 14:25 | 0.163 | 89.78 | 0.026 | 15.27 | 1 | 0.163 | 0.026 | 0.163 | 0.026
Baseline | 55 | 0 | BASL | 0 | 0 | 0 | 2024-07-17 14:26 | -0.012 | 0 | -0.011 | 0 | 1 | -0.012 | -0.011 | <0.002 | <0.002
Blank | 56 | 906 | SAMP | 0 | 0 | 0 | 2024-07-17 14:29 | -0.006 | 3.2 | -0.001 | 4.02 | 1 | -0.006 | -0.001 | <0.002 | <0.002
Blank | 57 | 906 | SAMP | 0 | 0 | 0 | 2024-07-17 14:31 | -0.005 | 3.59 | 0 | 4.33 | 1 | -0.005 | 0 | <0.002 | <0.002
Blank | 58 | 906 | SAMP | 0 | 0 | 0 | 2024-07-17 14:32 | -0.005 | 3.58 | -0.002 | 3.89 | 1 | -0.005 | -0.002 | <0.002 | <0.002
Blank | 59 | 906 | SAMP | 0 | 0 | 0 | 2024-07-17 14:33 | -0.005 | 3.64 | -0.001 | 4.01 | 1 | -0.005 | -0.001 | <0.002 | <0.002
Blank | 60 | 906 | SAMP | 0 | 0 | 0 | 2024-07-17 14:34 | -0.005 | 3.7 | -0.002 | 3.91 | 1 | -0.005 | -0.002 | <0.002 | <0.002
Blank | 61 | 906 | SAMP | 0 | 0 | 0 | 2024-07-17 14:35 | -0.005 | 3.76 | -0.002 | 3.84 | 1 | -0.005 | -0.002 | <0.002 | <0.002
Blank | 62 | 906 | SAMP | 0 | 0 | 0 | 2024-07-17 14:36 | -0.005 | 3.76 | -0.002 | 3.86 | 1 | -0.005 | -0.002 | <0.002 | <0.002
Blank | 63 | 906 | SAMP | 0 | 0 | 0 | 2024-07-17 14:38 | -0.004 | 3.96 | 0 | 4.38 | 1 | -0.004 | 0 | <0.002 | <0.002
Blank | 64 | 906 | SAMP | 0 | 0 | 0 | 2024-07-17 14:39 | -0.004 | 4.06 | -0.001 | 4.22 | 1 | -0.004 | -0.001 | <0.002 | <0.002
Blank | 65 | 906 | SAMP | 0 | 0 | 0 | 2024-07-17 14:40 | -0.003 | 4.53 | 0 | 4.34 | 1 | -0.003 | 0 | <0.002 | <0.002
CRM [0.15/0.03] | 66 | 908 | QUAL | 0 | 0 | 0 | 2024-07-17 14:41 | 0.167 | 92.04 | 0.027 | 15.68 | 1 | 0.167 | 0.027 | 0.167 | 0.027
CRM 4/30 | 67 | 909 | QUAL | 0 | 0 | 0 | 2024-07-17 14:42 | 0.19 | 103.95 | 0.027 | 15.38 | 1 | 0.19 | 0.027 | 0.19 | 0.027
Baseline | 68 | 0 | BASL | 0 | 0 | 0 | 2024-07-17 14:43 | -0.012 | 0 | -0.011 | 0 | 1 | -0.012 | -0.011 | <0.002 | <0.002
Drift | 69 | 921 | DRIF | 0 | 0 | 0 | 2024-07-17 14:47 | 0.208 | 112.77 | 0.2 | 85.93 | 1 | 0.208 | 0.2 | 0.208 | 0.2
End | 70 | 0 | END | 0 | 0 | 0 | 2024-07-17 14:48 | -0.012 | 0 | -0.011 | 0 | 1 | -0.012 | -0.011 | <0.002 | <0.002
ANAL | NOx_PO4.ANL | Column1 | _1 | _2 | _3 | _4 | _5 | _6 | _7 | _8 | _9 | _10 | _11