## 241212_NP1_Sample321
ANAL | NOx_PO4.ANL
RUN | 241212_NP1_Sample321.RUN
DATE | 2024-12-12
TIME | 16:09
OPER | CLMR
COMM | Sample appeared "soapy"
CHAN | 1 | 3 | 2
METH | NOx | PO4 | Dilution
UNIT | mg/L | mg/L | mg/L
Base | 158 | 4879
Gain | [8 empty] | 22 | 101
FIT | L | L
COEFF | 0.9999 | 0.9999
Sample ID | Peak Number | Cup Number | Cup Type | Cup Group |  |  | Date Time Stamp | Results 1 | Absorbance | Results 3 | Absorbance | Results 2 | NOx_mg/L | PO4_mg/L | NOx_LOD | PO4_LOD
Primer | 1 | 921 | PRIM | 0 | 0 | 0 | 2024-12-12 16:10 | 0.196 | 364.76 | 0.198 | 83.28 | 1 | 0.196 | 0.198 | 0.196 | 0.198
Drift | 2 | 921 | DRIF | 0 | 0 | 0 | 2024-12-12 16:12 | 0.198 | 370.17 | 0.199 | 83.7 | 1 | 0.198 | 0.199 | 0.198 | 0.199
321 | 3 | 910 | SAMP | 0 | 0 | 0 | 2024-12-12 16:13 | 0.004 | 13.3 | 0 | -4.76 | 1 | 0.004 | 0 | 0.004 | <0.002
Blank | 4 | 906 | SAMP | 0 | 0 | 0 | 2024-12-12 16:14 | -0.001 | 2.78 | 0 | -4.76 | 1 | -0.001 | 0 | <0.001 | <0.002
CRM 7/15 [0.15/0.03] | 5 | 908 | QUAL | 0 | 0 | 0 | 2024-12-12 16:15 | 0.148 | 277.94 | 0.023 | 11.79 | 1 | 0.148 | 0.023 | 0.148 | 0.023
CRM 4/30 [0.15/0.03] | 6 | 909 | QUAL | 0 | 0 | 0 | 2024-12-12 16:16 | 0.148 | 277.9 | 0.026 | 13.06 | 1 | 0.148 | 0.026 | 0.148 | 0.026
Baseline | 7 | 0 | BASL | 0 | 0 | 0 | 2024-12-12 16:17 | -0.003 | 0 | -0.006 | 0 | 1 | -0.003 | -0.006 | <0.001 | <0.002
Drift | 8 | 921 | DRIF | 0 | 0 | 0 | 2024-12-12 16:21 | 0.198 | 370.17 | 0.199 | 83.7 | 1 | 0.198 | 0.199 | 0.198 | 0.199
End | 9 | 0 | END | 0 | 0 | 0 | 2024-12-12 16:22 | -0.003 | 0 | -0.006 | 0 | 1 | -0.003 | -0.006 | <0.001 | <0.002