## 250203_Q7_NP4R1_PhosphateCurveT
ANAL | NOx_PO4.ANL
RUN | 250203_Q7_NP4R1_PhosphateCurveTAC.RUN
DATE | 2025-02-03
TIME | 15:59 | [7 empty] | NOx | PO4
OPER | CLMR | [6 empty] | LOD | 0.00089208 | 0.0017842
COMM | Recalculate from Run250203_Q7_NP4.run
CHAN | 1 | 3 | 2
METH | NOx | PO4 | Dilution
UNIT | mg/L | mg/L | mg/L
Base | 149 | 4775
Gain | [8 empty] | 26 | 74
FIT | L | L
COEFF | 0.9997 | 1
Sample ID | Peak Number | Cup Number | Cup Type | Cup Group |  |  | Date Time Stamp | Results 1 | Absorbance | Results 3 | Absorbance | Results 2 | NOx_mg/L | PO4_mg/L | NOx_LOD | PO4_LOD
Primer | 1 | 921 | PRIM | 0 | 0 | 0 | 2025-02-03 16:00 | 0.189 | 364.84 | 0.199 | 112.52 | 1 | 0.189 | 0.199 | 0.189 | 0.199
Drift | 2 | 921 | DRIF | 0 | 0 | 0 | 2025-02-03 16:01 | 0.192 | 370.51 | 0.2 | 113.02 | 1 | 0.192 | 0.2 | 0.192 | 0.2
0.2 | 3 | 921 | CALB | 0 | 0 | 0 | 2025-02-03 16:02 | 0.198 | 382.22 | 0.2 | 113.09 | 1 | 0.198 | 0.2 | 0.198 | 0.2
Cal. (1) | 4 | 0 | CALB | 0 | 0 | 0 | 2025-02-03 16:03 | 0.103 | 201.04 | 0.122 | 69.77 | 1 | 0.103 | 0.122 | 0.103 | 0.122
Cal. (1) | 5 | 0 | CALB | 0 | 0 | 0 | 2025-02-03 16:04 | 0.05 | 101.03 | 0.081 | 46.56 | 1 | 0.05 | 0.081 | 0.05 | 0.081
Cal. (1) | 6 | 0 | CALB | 0 | 0 | 0 | 2025-02-03 16:05 | 0.026 | 55.38 | 0.061 | 35.67 | 1 | 0.026 | 0.061 | 0.026 | 0.061
Cal. (1) | 7 | 0 | CALB | 0 | 0 | 0 | 2025-02-03 16:07 | 0.009 | 22.71 | 0.048 | 28.18 | 1 | 0.009 | 0.048 | 0.009 | 0.048
Cal. (1) | 8 | 0 | CALB | 0 | 0 | 0 | 2025-02-03 16:08 | 0.004 | 13.85 | 0.043 | 25.64 | 1 | 0.004 | 0.043 | 0.004 | 0.043
Blank | 9 | 906 | CALB | 0 | 0 | 0 | 2025-02-03 16:09 | -0.001 | 2.81 | 0 | 1.55 | 1 | -0.001 | 0 | <0.001 | <0.002
Baseline | 10 | 0 | BASL | 0 | 0 | 0 | 2025-02-03 16:10 | -0.003 | 0 | -0.003 | 0 | 1 | -0.003 | -0.003 | <0.001 | <0.002
High | 11 | 921 | HIGH | 0 | 1 | 1 | 2025-02-03 16:14 | 0.197 | 379.69 | 0.199 | 112.57 | 1 | 0.197 | 0.199 | 0.197 | 0.199
Low | 12 | 905 | LOW | 0 | 1 | 2 | 2025-02-03 16:15 | 0.005 | 15.9 | 0.043 | 25.27 | 1 | 0.005 | 0.043 | 0.005 | 0.043
Low | 13 | 905 | LOW | 0 | 1 | 3 | 2025-02-03 16:16 | 0.005 | 14.06 | 0.043 | 25.28 | 1 | 0.005 | 0.043 | 0.005 | 0.043
Blank | 14 | 906 | SAMP | 0 | 0 | 0 | 2025-02-03 16:17 | -0.001 | 2.78 | 0 | 1.5 | 1 | -0.001 | 0 | <0.001 | <0.002
Blank spiked | 15 | 907 | SPIK | 0 | 0 | 1 | 2025-02-03 16:18 | 0.145 | 281.46 | 0.117 | 66.85 | 1 | 0.145 | 0.117 | 0.145 | 0.117
CRM 2/3 [0.15/0.03] | 16 | 910 | QUAL | 0 | 0 | 0 | 2025-02-03 16:19 | 0.148 | 285.7 | 0.024 | 15.1 | 1 | 0.148 | 0.024 | 0.148 | 0.024
633 | 17 | 1 | SAMP | 0 | 0 | 0 | 2025-02-03 16:21 | 0.005 | 14.23 | 0.011 | 7.45 | 1 | 0.005 | 0.011 | 0.005 | 0.011
360 | 18 | 2 | SAMP | 0 | 0 | 0 | 2025-02-03 16:22 | 0.008 | 20.72 | 0.004 | 3.53 | 1 | 0.008 | 0.004 | 0.008 | 0.004
542 | 19 | 3 | SAMP | 0 | 0 | 0 | 2025-02-03 16:23 | 0.007 | 18.46 | -0.003 | -0.37 | 1 | 0.007 | -0.003 | 0.007 | <0.002
425 | 20 | 4 | SAMP | 0 | 0 | 0 | 2025-02-03 16:24 | 0.008 | 21.24 | 0.01 | 7.24 | 1 | 0.008 | 0.01 | 0.008 | 0.01
672 | 21 | 5 | SAMP | 0 | 0 | 0 | 2025-02-03 16:25 | 0.007 | 18.39 | 0.007 | 5.53 | 1 | 0.007 | 0.007 | 0.007 | 0.007
373 | 22 | 6 | SAMP | 0 | 0 | 0 | 2025-02-03 16:26 | 0.009 | 21.73 | 0.003 | 3.47 | 1 | 0.009 | 0.003 | 0.009 | 0.003
620 | 23 | 7 | SAMP | 0 | 0 | 0 | 2025-02-03 16:28 | 0.008 | 19.95 | 0.009 | 6.84 | 1 | 0.008 | 0.009 | 0.008 | 0.009
451 | 24 | 8 | SAMP | 0 | 0 | 0 | 2025-02-03 16:29 | 0.006 | 16.34 | 0.003 | 3.4 | 1 | 0.006 | 0.003 | 0.006 | 0.003
347 | 25 | 9 | SAMP | 0 | 0 | 0 | 2025-02-03 16:30 | 0.008 | 20.81 | 0.006 | 4.71 | 1 | 0.008 | 0.006 | 0.008 | 0.006
607 | 26 | 10 | SAMP | 0 | 0 | 0 | 2025-02-03 16:31 | 0.013 | 29.8 | 0.014 | 9.27 | 1 | 0.013 | 0.014 | 0.013 | 0.014
607 spiked | 27 | 11 | SPIK | 0 | 0 | 1 | 2025-02-03 16:32 | 0.157 | 304.02 | 0.143 | 81.23 | 1 | 0.157 | 0.143 | 0.157 | 0.143
CRM 2/3 [0.15/0.03] | 28 | 910 | QUAL | 0 | 0 | 0 | 2025-02-03 16:33 | 0.145 | 281.21 | 0.023 | 14.17 | 1 | 0.145 | 0.023 | 0.145 | 0.023
Baseline | 29 | 0 | BASL | 0 | 0 | 0 | 2025-02-03 16:35 | -0.003 | 0 | -0.003 | 0 | 1 | -0.003 | -0.003 | <0.001 | <0.002
659 | 30 | 12 | SAMP | 0 | 0 | 0 | 2025-02-03 16:38 | 0.009 | 23.34 | 0.008 | 6.28 | 1 | 0.009 | 0.008 | 0.009 | 0.008
490 | 31 | 13 | SAMP | 0 | 0 | 0 | 2025-02-03 16:39 | 0.007 | 18.45 | 0.003 | 3.26 | 1 | 0.007 | 0.003 | 0.007 | 0.003
529 | 32 | 14 | SAMP | 0 | 0 | 0 | 2025-02-03 16:40 | 0.01 | 23.6 | 0.003 | 3.43 | 1 | 0.01 | 0.003 | 0.01 | 0.003
685 | 33 | 15 | SAMP | 0 | 0 | 0 | 2025-02-03 16:42 | 0.006 | 16.3 | 0.006 | 4.76 | 1 | 0.006 | 0.006 | 0.006 | 0.006
646 | 34 | 16 | SAMP | 0 | 0 | 0 | 2025-02-03 16:43 | 0.016 | 36.72 | 0.02 | 12.77 | 1 | 0.016 | 0.02 | 0.016 | 0.02
646 spiked | 35 | 17 | SPIK | 0 | 0 | 1 | 2025-02-03 16:44 | 0.164 | 317.17 | 0.158 | 89.49 | 1 | 0.164 | 0.158 | 0.164 | 0.158
CRM 2/3 [0.15/0.03] | 36 | 910 | QUAL | 0 | 0 | 0 | 2025-02-03 16:45 | 0.142 | 274.94 | 0.023 | 14.37 | 1 | 0.142 | 0.023 | 0.142 | 0.023
Baseline | 37 | 0 | BASL | 0 | 0 | 0 | 2025-02-03 16:46 | -0.003 | 0 | -0.003 | 0 | 1 | -0.003 | -0.003 | <0.001 | <0.002
Blank | 38 | 906 | SAMP | 0 | 0 | 0 | 2025-02-03 16:50 | -0.002 | 2.34 | -0.002 | 0.61 | 1 | -0.002 | -0.002 | <0.001 | <0.002
Blank | 39 | 906 | SAMP | 0 | 0 | 0 | 2025-02-03 16:51 | -0.002 | 2.54 | -0.001 | 1.02 | 1 | -0.002 | -0.001 | <0.001 | <0.002
Blank | 40 | 906 | SAMP | 0 | 0 | 0 | 2025-02-03 16:52 | -0.002 | 2.43 | -0.002 | 0.61 | 1 | -0.002 | -0.002 | <0.001 | <0.002
Blank | 41 | 906 | SAMP | 0 | 0 | 0 | 2025-02-03 16:53 | -0.002 | 2.33 | -0.002 | 0.67 | 1 | -0.002 | -0.002 | <0.001 | <0.002
Blank | 42 | 906 | SAMP | 0 | 0 | 0 | 2025-02-03 16:54 | -0.002 | 2.29 | -0.001 | 0.85 | 1 | -0.002 | -0.001 | <0.001 | <0.002
Blank | 43 | 906 | SAMP | 0 | 0 | 0 | 2025-02-03 16:56 | -0.002 | 2.22 | -0.001 | 1.18 | 1 | -0.002 | -0.001 | <0.001 | <0.002
Blank | 44 | 906 | SAMP | 0 | 0 | 0 | 2025-02-03 16:57 | -0.002 | 2.25 | -0.001 | 1 | 1 | -0.002 | -0.001 | <0.001 | <0.002
Blank | 45 | 906 | SAMP | 0 | 0 | 0 | 2025-02-03 16:58 | -0.002 | 2.48 | -0.001 | 1.16 | 1 | -0.002 | -0.001 | <0.001 | <0.002
Blank | 46 | 906 | SAMP | 0 | 0 | 0 | 2025-02-03 16:59 | -0.002 | 2.39 | -0.001 | 1.15 | 1 | -0.002 | -0.001 | <0.001 | <0.002
Blank | 47 | 906 | SAMP | 0 | 0 | 0 | 2025-02-03 17:00 | -0.001 | 2.71 | 0 | 1.35 | 1 | -0.001 | 0 | <0.001 | <0.002
Blank spiked | 48 | 907 | SPIK | 0 | 0 | 1 | 2025-02-03 17:01 | 0.143 | 277.4 | 0.116 | 66.26 | 1 | 0.143 | 0.116 | 0.143 | 0.116
CRM 2/3 [0.15/0.03] | 49 | 910 | QUAL | 0 | 0 | 0 | 2025-02-03 17:03 | 0.146 | 282.15 | 0.024 | 15.15 | 1 | 0.146 | 0.024 | 0.146 | 0.024
Baseline | 50 | 0 | BASL | 0 | 0 | 0 | 2025-02-03 17:04 | -0.003 | 0 | -0.003 | 0 | 1 | -0.003 | -0.003 | <0.001 | <0.002
Drift | 51 | 921 | DRIF | 0 | 0 | 0 | 2025-02-03 17:07 | 0.194 | 374.22 | 0.2 | 113.02 | 1 | 0.194 | 0.2 | 0.194 | 0.2
End | 52 | 0 | END | 0 | 0 | 0 | 2025-02-03 17:08 | -0.003 | 0 | -0.003 | 0 | 1 | -0.003 | -0.003 | <0.001 | <0.002